## Main
Description | Company | Cost
Cryomech LHeP22 helium Liquifier | Cryomech | 93459
240 L LN Dewar, 100L He dewar | Cryofab | 4570
60L He dewar | Cryofab | 4114 |  | estimated ship date: April 17th
He purifier + monitor | Quantum technology | 21600
He recovery bag | Aero Tek Laboratories (ATL) | 19245
55 Gallon water barrel | amazon | 122.81
crane scale | amazon | 64.99
BioFrost coolant, Concentrate - 30 gallons | amazon | 720
Floor Tarp, 20'x30' | tarpsupply.com | 72.87 |  | http://www.tarpsupply.com/white-tarp-20x30.html
Chiller water pump | Locke Well and Pump Company | 315.43
Rheem ac, 6' whip | acwholesalers | 1677.26 |  | https://www.acwholesalers.com/Goodman-Air-Conditioner/SSX160481-4-Ton-16-SEER-Air-Conditioner-Condenser-with-R410A/14936.ac?catId=cat1000&mainCat=cat1027&subCat=cat1006&trail=7424:4%20Ton
Gast MAA-P102-MB diaphragm compressor + qty 2 pair of k309 maintenance kits | www.brenner-fiedler.com | 558.84
Chiller -Parker PA5083-11-7C Refrigerant Suction Line Accumulator | ebay | 42.2
Chiller Charging-Mastercool 98210-A Electronic Refrigerant Scale | amazon | 145.42
Chiller Charging - Yellow Jacket 42044 Heat Pump Manifold with 60" PLUS II Black Hoses (R-22, R-410A, R-407C) | amazon | 96.79 |  |  |  | 5703.61
Chiller Charging - R410a Refrigerant - 25 lb cylinder - New factory sealed tank | amazon | 118
Chiller Charging - Charging Hoses Set AC R410A 1/4" with Ball Valves Fittings | amazon | 36.09
Chiller - copper tubes, fittings, txv valve, brazing raod, flux, etc. | URI.com | 920.37
Chiller - copper tubes, fittings, txv valve, brazing raod, flux, etc. | URI.com | 449.95
Chiller - High and Low Pressure gauges, Fluke shielded Thermocouple converter | amazon | 62.08
He Bag - Mounting hardware (Unistrut and eyebolts) | mcmaster | 335.86
He Bag - red 550 lb paracord, ~1/8" | amazon | 45.98
drill/electric screw driver to socket converters | amazon | 6.99
Chiller - coolant pipe and connectors | zorotools.com | 671.53
Chiller - Scrhader valve core removal tool | amazon | 5.68
He purifier - hoist + Pulley | amazon | 166.06
10 platinum RTD sensors | digikey | 50
Chiller air duct | pheonix metals | 290 | http://www.wemakeduct.com/
He recovery: Chalk line tools and chalk for marking unistrut position | mcmaster | 14.53
Fume vent for welding area: Duct work | URI.com | 202.11
Mass iar Flow Sensors - 3 of them | ebay | 56.89
Fume vent - Mastic and Fiberglass mesh tape for sealing duct | amazon | 23.09
Dewar reconditionining --Apollo 1/2" Ball valve, 1/2" F-F NPT coupling, nitrogen purge tool for brazing | zorotools.com | 54.41
MAF sensor housing hardware (plumbing) | URI.com | 42.1
MAF sensor 12 volt power supplies, 2 of them | amazon.com | 16.94
MAF sensor, BNC connectors, 10 of them | digikey | 21.61
MAF 5 digit volt meters, 0-4.3000-33.000V DC, 6 of them | ebay | 43.06
Chiller - 3/4" coolant tubing mounting hardware | mcmaster | 30
MAF - Loctite 770 HDPE primer | mcmaster | 80
American Magnetics model 186 + Oscillator, LN level + controller | ebay | 174.95
(5) ball valves - Lab manifold | Ferguson | 769.5 | 2014-03-06
plumbing Lab manifold | Thomas Somerville Co. | 121.08 | 2014-03-24
channels and hardware lab manifold | Unistrut Service | 252.45 | 2014-03-27
lag screws lab manifold | McMaster | 31.03 | 2014-04-02
diamond drill | Grainger | 47.63 | 2014-04-07
unistrut plumbing pipe clamps - lab manifold | Tools And Accessories Corp. | 139.8 | 2014-04-09
wire rope clamps - LN hoist | Mcmaster | 14.41 | 2014-04-09
Engine hoist for Dewar weight | Northern Tool | 287.97 | 2014-04-09
epoxy for MAF sensors: JB weld cold weld, 3M DP8010 scotch weld for polyolifin | zorotools.com | 64.74 | 2014-05-10
MAF sensor: 2 more for extras to have on hand | ebay | 46.4 | 2014-05-17
Mig wire + crane hardware | McMaster | 36.59 | 2014-05-06
MIG welding wire | McMaster | 14.99 | 2014-05-06
Crane hardware, MAF sensor orings | McMaster | 51.46 | 2014-05-15
Diaphragm Pump Assembly - Brass Tube inserts | Swagelok | 17.6 | 2014-05-20
MAF sensors - electronic connectors (BNC's, Switches) | digikey | 48 | 2014-05-20
Welding supplies -- CO2 and Argon refills, 2 tanks each | Roberts oxygen | 153.88 | 2014-05-20 | Personal CC
Ball valves for dewar presurize/vent stations, diaphragm pump, 1/4" NPT, 8 of them | zorotools.com | 30.08 | 2014-05-22 | z-order, Margaret
1/2" dia 55" long LN level gauge, capacitive | American Magnetics | 609 | 2014-05-22 | ML3673, Margaret paid for it on 6/9/2014
Diaphragme pump hardware, right angle Ball valve | mcmaster | 160.43 | 2014-05-21
3x 1/2 PSI inline relief valves, 1x 3 PSI adjstable inline releif valve for diaphragm pump | Columbia valve and fitting | 165.9 | 2014-05-23 | Margaret | 5/24 I sent an e-mail to Mike to change valve pressure settings
Swagelok quick connect dewar blow off connectors | Swagelok.com | 268.2 | 2014-05-23 | Margaret
4' x 1/2" LN transfer hose with SAE 45 degree connectors | amazon | 135 | 2014-05-23 | Margaret
right angle valve for diaphragm pump; connectors for construction of custom LN transfer line | McMaster | 111.03 | 2014-05-23 | Margaret
Cryogenic solenoid valve, Red Hat Mfg #8263H206LT (120/60), Zoro part number G3637751 | zorotools.com | 245 | 2014-05-23 | Margaret
Description: Pressure transducer with controller, +/- 14.5 PSIG compound sensor, 1/8" NPT, PNP/High Output type, cable with connector included, Mfg Part number: DP-101A-N-P,Digikey part number: 1110-1817-ND | Digikey | 117.9 | 2014-05-24 | Margaret
Swaging tool for Purifier hoist | Home Depot | 27.12 | 2014-05-17 | Personal CC
Tubing tests (different tygon and polyethylene tubing) | McMaster | 47.25 | 2014-05-26 | Margaret
Acetylene cylinder, | Roberts Oxygen | 200 | 2014-05-29 | Personal CC
cryogenic 1/2" selenoid valve (new | ebay.com | 200 | 2014-05-29 | Personal CC
Misc hardware (see other sheet) | Mcmaster | 185.68 | 2014-05-29 | Margaret
Clear flex 60, 3/8" OD, 1/4" ID | http://products.uscosupply.com/item/all-categories-tubing-fittings-finger-lakes-tubing/clear-flex-60-premium-pvc-tubing/81604335? | 40 | 2014-05-30 | Margaret
Quick connects, quote number Q20140529620EB25 | swagelok.com | 348.9 | 2014-05-30 | Margaret
Misc hardware (see other sheet) | zorotools.com | 186.03 | 2014-05-30 | Margaret
3 different AF5550 316 Stainless steel hoses with male npt fittings on both ends | https://processhose.com/ | 274.58 | 2014-05-30 | Margaret
custom heater for cold trap, Quote: #2599582, | ppe.com | 119.35 | 2014-06-04 | Margaret
valves and copper pipe for helium recovery system. | zorotools.com | 294.47 | 2014-06-04 | Margaret
1.5" Cu Tube mounting hardware and fitting | mcmaster | 121.63 | 2014-06-04 | Margaret
5/8" ID and 1.5" ID PVC vacuum hose | USplastics.com | 263.7 | 2014-06-04 | Margaret
Full Flow quick connect stem with 1/2" Male NPT, Item: B-QF8-S-8PM | swagelok.com | 27.4 | 2014-06-04 | Margaret
Circle Seal Controls (CRC) 532B-1M-2, 1/8" MNPT, description: Relief valve, brass with viton oring, 2 PSI cracking pressure | http://www.circlesealcontrols.com/ | 86.55 | 2014-06-06 | ML3668
KF flange hardware for helium recovery | ancorp.com | 258.5 | 2014-06-04 | Margaret
KF flange hardware for helium recovery | hyvac.com | 44 | 2014-06-04 | Margaret
KF flange hardware for helium recovery | Pchemlab.com | 460.75 | 2014-06-06 | ML3671
Relay board to control diaphragm pump + solenoid valve | ebay.com | 9.99 | 2014-06-06 | Personal CC
Laptop battery and power supply | amazon.com | 128.78 | ML 3676, placedby Margaret on 6/9/2014
1.5" Copper pipe hardware, unistrut hardware | mcmaster | 40.54 | ML 3678, placed on 6/12/2012
cables, 5V and 12v power supplies | yourduino.com | 34 | ML 3679, placed on 6/12/2012
heat shrink tubing, serial PCI card + cables, NIDAQ digital output DB9 extension cord + solder connectors, safetly glasses + ear protection | amazon | 93.31 | ML3681, placed on 6/16/2014
Diamond core drill bits, 6 of them | toolup | 125 | 6/18/2014, personal CC
Home Depot, Masonry bits, 5 of them | Home Depot | 35 | 6/18/2014, personal CC
TEKTON 3916 9-Inch Steel Spring Clamp,;helium purifier heater clamp | Amazon.com | 10.4 | 2014-06-24 | ML3693
4 conductor, braided shielded wire (for thermometers and pyroelectric | Newar Electronics | 27.44 | 2014-06-24 | ML 3694
1/2" copper cross | ebay | 16.66 | 2014-06-25 | ML3699
Helium recovery system plumbing hardware | McMaster | 330.1 | 2014-06-25 | ML 3698
1/2" Ball valves and 50' of 1/8" stainless steel tubing | zorotools.com | 116.07 | 2014-06-25 | ML 3697
PVC and copper plumbing hardware long helium recovery line and liquefier room manifold | Ferguson | 1044.55 | 2014-06-26 | ML 3702
Pipe, tube, and mounting hardware for Liquefier room | mcmaster | 86.05 | 2104-07-02 | ML 3709
Drill Bits/masonry --- for hammer drilling concrete | Home Depot | 30 | ~7/20/2015 | Personal CC | No receipt
Mechanical room electrical power 120V boxes + wire, fire safety curtains hardware | mcmaster | 360 | 2015-07-29 | ML4168
Cole-Parmer ±0.25%-Accuracy Compound Transmitter, 0.5 to 5.5 V Output, -14.7 to 15.0 PSI; Helium recovery project | Cole-Parmer ±0.25%-Accuracy Compound Transmitter, 0.5 to 5.5 V Output, -14.7 to 15.0 PSI; Helium recovery project | 160 | 2015-07-29 | ML4170
Duct hardware for cylinder storage ventilation | Home Depot | 70 | 2015-07-29 | ML4169
Duct hardware for cylinder storage ventilation + pipe insulation for PVC pipe in Physics main corridor | mcmaster | 350 | 2015-07-29 | ML4168
Welding curtains + water line hardware | McMaster | 360 | 2015-07-30 | ML4168
3/4" Cu pipe, solder supplies, chiller water line hardware, 1 1/2" x 1 1/2" x 1/2" Cu pipe Tee (cup ends) for manifold | Mcmaster | 180 | 2015-08-03 | ML4172
Parker 3/4" ID 801-12 Hose to connect chiller to University chilled water | https://shopcross.com/product/parker-801-12-blu-rl-push-lok-multipurpose-hose-34-id-blue | 40 | 2015-08-04 | 15559
welding supplies, wrench + brass fittings for chiller lines/Helium recovery system | McMaster | 120 | 2015-08-06 | ML4175
Lab manifold + back room manifld supplies: 1/2" Ball valves, 1 1/2" Cu Elbows, Soldering supplies, 3/4" Cu pipe, 1 1/2" Cu Pipe, Barbed Hose fitting for chiller lines | McMaster | 273.18 | 2015-08-12 | ML4179
Misc Mounting Hardware, wall and strut, also wire brush and hex nipple | McMaster | 76.48 | 2015-08-18 | ML4186
220 lb Hoist for pop-off valve, bladder | http://www.northerntool.com/shop/tools/product_120327_120327 | 138 | 2015-08-18
Lab and Mech room manifold parts includes: Brass compression fitting for 1/2" Cu pipe, 1/2" pipe union, KF 40 to 25 converter for Scroll pump line, Power cord for cryogenic valve, velcro strips | McMaster | 141 | 2015-08-24 | ML4193
PVC flanges, fittings, gaskets, gasket kits | FlexPVC.com | 333.93 | 2015-08-27 | ML4198
Hardware for chiller: FNWX509F, 3/4 Bronze 20 Mesh Wye Strainer; GBRNFM, 3/4 X 3 Brass Nipple; LIN100190, 6 X 6 RR Gasket Sheet Packing | Ferguson | 50 | 2015-08-28 | CL287128-1
1" Thick fiberglass insulation for 2" PVC pipe, Strut hardware | McMaster | 165.26 | 2015-08-31 | ML4200
SS-QF8-BP, Stainless Steel Body Protector for 1/2 in. QF Series Full-Flow Quick-Connect for helium recovery system --- Pressurization/Vent substation assemblies, Quantity: 6 | Swagelok | 100 | 2015-09-08 | ML4206
Thread Sealant for NPT threads in Helium recovery system, ~$35 | mcmaster | 35 | 2015-09-02 | ML4201
Hose clamps for laboratory helium lines, Qty 10: part # 31330, 1-1/2" spiral hose clamps, Qty 4: part # 31334, 3" spiral hose clamps | UsPlastics.com | 60 | 2015-09-08 | ML4208
Plumbing hardware for Helium recovery lines | Ferguson | 300 | 2015-09-11 | ML4213
Plumbing hardware for Helium recovery lines | Ferguson | 60 | 2015-09-15 | ML4218
Custom flange, interface between PVC and Helium recovery bladder | New London Precision | 700 | 2015-09-14 | ML4219
Plumbing hardware for Helium recovery lines | Ferguson | 150 | 2015-09-20 | ML 4227 for the will call order
Valve for lab manifold + 4 swabs for PVC for 4" and larger pipe | Ferguson | 190 | 2015-09-20 | ML4228 for delivery
Plumbing hardware and mounting hardware, helium recovery lines | McMaster | 120 | 2015-09-20 | ML4231
Personal oxygen monitor for use in helium recovery rooms, required by DES for helium recovery system, RAE SYSTEMS TOXIRAE II OXYGEN 0-30 PCT MONITOR | PKSafety.com | 240 | 2015-09-20 | ML4230
Tarp for helium recovery bag, ceiling protection; 15' x 25' Vinyl Tarp 18 OZ Vinyl Coated Polyester - Tan Color | Tarps.com | 292.26 | 2015-09-25 | ml4233
Wall protections for heliume bag (two tarps), door stop bumper, strut mounting hardware for helium line | McMaster | 210 | 2015-09-25 | ML4237
Gladding Red U.S. Made Paracord - 1000 Feet; for hanging ceiling protecting tarp for helium bladder | CampingSurvival.com | 50 | 2015-09-27 | ML4239
PVC fittings, primer, cleaner, and cement | Ferguson | 60 | 2015-09-28 | ML4240
PVC fittings and pipe, unistrut pipe clamps | Ferguson | 45 | 2015-10-05 | ML4245
PVC fittings and pipe, unistrut pipe clamps | Ferguson | 85 | 2015-10-07 | ML4250
PVC Fittings | Ferguson | 92.08 | 2015-10-02 | Person CC
Spackling for helium recovery room walls, putty knives | Home Depot | 27.95 | 2015-09-10 | Person CC
Masonry paint for helium recovery walls | Home Depot | 21.18 | 2015-09-13 | Person CC
Gasket for chiller reservoir | Home Depot | 13.35 | 2105-08-28 | Person CC
Teflon tape for NPT pipe fittings, helium recovery | Home Depot | 19.88 | 2015-09-01 | Person CC
Hammer Drill + rachet tie downs (for joining pvc pipes) | Harbor Freight/Laure | 105.95 | 2015-07-11 | Personal CC
Sealing magnet helium leaks: epoxy | www.ellsworth.com | 70 | 2015-12-21 |  |  | http://www.ellsworth.com/products/by-market/general-industry/thermally-conductive-materials/adhesives/henkel-loctite-ablestik-286-thermally-conductive-adhesive-white-6-oz-kit/ | Henkel Loctite Ablestik 286 Thermally Conductive Adhesive White 6 oz Kit
cabling to and from sensors in helium recovery system | Allied Electronics | 30 | 2015-12-21 |  |  | http://www.alliedelec.com/te-connectivity-5227726-1/70042547/ | TE Connectivity 5227726-1, Jack, Bulkhead; 50 Ohms; Straight; Coaxial; BNC; Tin; Phosphor Bronze; Valox
tools to repair magnet helium leak + patch cables for liquifier computer | amazon.com | 90 | 2015-12-21 |  |  | http://www.amazon.com/CablesOnline-5-PACK-BNC-59-Jumper-R-B700-5/dp/B00JSYJ7LW/ref=sr_1_8?ie=UTF8&qid=1448851525&sr=8-8&keywords=rg174+bnc | BNC patch cables for helium recovery system data acquistion card; CablesOnline 5-PACK 6 inch RG174 BNC-59 Male to Male Coax Jumper Cable (R-B700-5)
[6 empty] | http://www.amazon.com/3M-9005NA-Aluminum-Sandpaper-Assorted/dp/B00004Z48U/ref=sr_1_1?ie=UTF8&qid=1450605693&sr=8-1&keywords=sand+paper+assortment&refinements=p_n_feature_two_browse-bin%3A3515872011 | 3M 9005NA 9-Inch by 11-Inch Aluminum Oxide Sandpaper, Assorted -- Grits 100, 150, 220;
[6 empty] | http://www.amazon.com/3M-Wetordry-Sandpaper-11-Inch-Assorted/dp/B001449TPS/ref=sr_1_2?ie=UTF8&qid=1450605948&sr=8-2&keywords=wet+sand+paper+sheets | 3M Wetordry Sandpaper, 9-Inch by 11-Inch, Assorted Grit, 5-Shee
[6 empty] | http://www.amazon.com/SE-8235DD12-50-Piece-Diamond-8-Inch/dp/B0012DLA3U/ref=pd_sim_469_7?ie=UTF8&dpID=51OeUW-trsL&dpSrc=sims&preST=_AC_UL160_SR160%2C160_&refRID=1EY1Q0P7AJAZ8SAA1EHC | SE 8235DD12 50-Piece Diamond Burr Set, 1/8-Inch Shank, Grit 120
[6 empty] | http://www.amazon.com/Dremel-412-Sanding-Discs-36-Pack/dp/B00004UDGZ/ref=sr_1_7?ie=UTF8&qid=1450606840&sr=8-7&keywords=dremel+grinding+pack | Dremel 412 Sanding Discs, 220 Grit (36-Pack)
[6 empty] | http://www.amazon.com/SEOH-Plastic-Hexagonal-Weigh-Boats/dp/B001AEF5AK/ref=sr_1_2?ie=UTF8&qid=1450607690&sr=8-2&keywords=weigh+dishes | SEOH Plastic Hexagonal Weigh Boats Small Dish 100pk
Bubble leak detector | Ferguson | 16 | 2015-12-21 |  |  | https://www.fergusononline.com/fergusononline/userarea/viewProductDetails?fromSearchBar=true&R=PROD_38403&useAutoSuggest=on&searchoption=KEYWORD&OVERRIDE_SCOPE=LOCAL | 8 oz LEAK Detector MEGA BUBBLE, H45801
2TB hard drive for liquid helium recovery system; log file storage | NewEgg | 120 | 2015-12-21 |  |  |  | WD Black 2TB Performance Desktop Hard Disk Drive - 7200 RPM SATA 6 Gb/s 64MB Cache 3.5 Inch - WD2003FZEX
cabling to and from sensors in helium recovery system | Allied Electronics | 241.92 | 2015-12-15 | ML4294 |  | http://www.alliedelec.com/search/productdetail.aspx?SKU=70031731 | connector, rf coaxial, bnc in-series adapter, tee, jack to plug to jack, 50 ohm
[6 empty] | http://www.alliedelec.com/search/productdetail.aspx?SKU=70031727 | connector, rf coaxial, bnc in-series adapter, straight jack to jack, 50 ohm
[6 empty] | http://www.alliedelec.com/search/productdetail.aspx?SKU=70042547 | Jack, Bulkhead; 50 Ohms; Straight; Coaxial; BNC; Tin; Phosphor Bronze; Valox
[6 empty] | http://www.alliedelec.com/search/productdetail.aspx?SKU=70004867 | PAIRED CABLE, 1 PR, 18AWG STRAND (16X30), POLYETHYLENE INSULAT, AUDIO/INSTRUMENT
[6 empty] | http://www.alliedelec.com/search/productdetail.aspx?SKU=70198068 | Coaxial/RF; Cap-w/Chain; BNC; Protective; Male; Brass; forBNCFemale; Straight
Valve for Liquefier room manifold, couplers for interlock assembly | Zoro | 170 | 2015-12-10 | ML4510 |  | http://www.zoro.com/fernco-shielded-coupling-2-18-in-l-2-in-p3001-22/i/G3342595/ | Proflex pipe coupling for 2" pipe
[6 empty] | http://www.zoro.com/redhat-solenoid-valve-22-38-in-nc-120v-brass-8210g093/i/G2337264/ | ASCO (redhat) Solenoid Valve, 2/2, 3/8 In, NC, 120V, Brass Zoro #: G2337264 ¦ Mfr #: 8210G093; Interlock assembly for cold trap; power outage and low LN; place @ entrance of liquefier on manifold
couplers for solendoid valve over/under pressure interlock assembly | McMaster | 131.71 | 2015-12-09 | ML4509 |  | http://www.mcmaster.com/#5231K331 | Clear PVC Tubing 3A Sanitary, 1/4" ID, 3/8" OD, 1/16" Wall Thk, 100 ft. Length
[6 empty] | http://www.mcmaster.com/#9580K48 | Std-Wall Thrd-on-One-End Brass Pipe Nipple 2 Pipe Size X 3" Length
[6 empty] | http://www.mcmaster.com/#4568K285 | Standard-Wall Brass Threaded Pipe Nipple 2 Pipe Size X 4" Length
[6 empty] | http://www.mcmaster.com/nav/enter.asp?partnum=44745K25 | Slit Foam Rubber Pipe Insulation, 1/2" Thick, 7/8" Insulation ID, 6' Length
Camera cable to monitor bladder level + cabling for Helium recovery computer | Amazon.com | 251 | 2015-11-30 | ML4292 |  | http://www.amazon.com/CablesOnline-5-PACK-BNC-59-Jumper-R-B700-5/dp/B00JSYJ7LW/ref=sr_1_8?ie=UTF8&qid=1448851525&sr=8-8&keywords=rg174+bnc | CablesOnline 5-PACK 6 inch RG174 BNC-59 Male to Male Coax Jumper Cable (R-B700-5)
[6 empty] | http://www.amazon.com/StarTech-com-SATA-Drive-Adapter-Cable/dp/B00HJZJI84/ref=sr_1_2?ie=UTF8&qid=1448593031&sr=8-2&keywords=usb+3+external+drive+cable | StarTech.com SuperSpeed USB 3.0 to SATA III Adapter - USB 3 to SATA 3 Converter Adapter for 2.5in or 3.5in HDD and SSD Drives - 6 Gbps
[6 empty] | http://www.amazon.com/Catchmaster-Spider-Insect-Scorpion-Sticky/dp/B002Y6GAN4/ref=sr_1_20?ie=UTF8&qid=1448852955&sr=8-20&keywords=mouse+traps | 30 Catchmaster Mouse / Spider / Insect / Scorpion Glue Board Sticky Traps ~ Peanut Butter Scent
[6 empty] | http://www.amazon.com/CyberPower-BRG1500AVRLCD-1500VA-Outlets-GENERATION/dp/B00LEFYISA/ref=cm_cr_pr_product_top?ie=UTF8 | CyberPower BRG1500AVRLCD UPS 1500VA/900W 12 Outlets AVR LCD USB Ports Mini Tower (NEWEST GENERATION)
RTD thermometers for chiller, transfer lines; He liquifier system | Digikey | 30 | 2015-11-30 | ML4293 |  | http://www.digikey.com/product-detail/en/PPG102A1/615-1043-ND/1014571 | DETECTOR RTD TF 1K OHM +/-0.06%; Digikey Part #: 615-1043-ND
Clear PVC Tubing 3A Sanitary, 1/4" ID, 3/8" OD, 1/16" Wall Thickness, 100 ft. Length | McMaster | 68 | 2015-12-04 | 4297 |  | http://www.mcmaster.com/nav/enter.asp?partnum=5231K331
Clamps for vacuum rated spiral hose for use in helium recovery system; Tap to chase threads in magnet to recapture helium (no leaks) | McMaster | 62.96 | 2015-12-02 | 4296 |  | http://www.mcmaster.com/#8328A12 | Tap for British Standard Threads 1/4 BSPT Pipe Size, 19 Threads Per Inch
[6 empty] | http://www.mcmaster.com/#6151K58 | 316 SS Worm-Drive Clamp for Soft Hose & Tube 1-9/16" to 2-1/2" Clamp Dia Range, 1/2" Band Width, Packs of 5
[6 empty] | http://www.mcmaster.com/#6151K53 | 316 SS Worm-Drive Clamp for Soft Hose & Tube 7/8" to 1-1/4" Clamp Dia Range, 1/2" Band Width, Packs of 5
Floor bumper hardware for helium bag room+ installation tools, rubber for door edges, thermal insulation for chiller lines, oxford magnet fittings to interface with helium recovery system | McMaster | 213 | 2015-11-23 | 4348 |  | http://www.mcmaster.com/#8525T23 | Sheet of Compressible Rubber Gasket Material Oil-Resistant Buna-N, 1/8" Thick, 12" X 12"
[6 empty] | http://www.mcmaster.com/#8948A26 | SDS-Plus Shank Rotary-Hammer Drill Bit 1/2" Bit, 8" Drilling Depth, 10-5/8" O'all Length
[6 empty] | http://www.mcmaster.com/#97016A975 | Internally Threaded Hollow Material Anchor for Concrete, Block and Brick, 1/2"-13 Screw Size, Packs of 1
[6 empty] | http://www.mcmaster.com/#8948A39 | SDS-Plus Shank Rotary-Hammer Drill Bit 3/4" Bit, 7" Drilling Depth, 9-3/4" O'all Length
[6 empty] | http://www.mcmaster.com/#93190A722 | Type 316 Stainless Steel Hex Head Cap Screw 1/2"-13 Thread, 2-1/2" Long, Fully Threaded, Packs of 1
[6 empty] | http://www.mcmaster.com/#44745K53 | Slit Foam Rubber Pipe Insulation 3/4" Thick, 1-1/8" Insulation ID, 6' Length
[6 empty] | http://www.mcmaster.com/#8694K69 | Weather-Resistant Neoprene/EPDM/SBR Foam Adhesive-Back, 1/8" Thick, 2" W, 50'L, Each of 50 Ft.
[6 empty] | http://www.mcmaster.com/#6821T711 | High-Traffic Smooth Traction Mat 24" Width X 48" Length, 1/8" Thick, Black
[6 empty] | http://www.mcmaster.com/#4860K142 | British Standard Threaded Brass Pipe Fitting 1/4 Pipe Size, NPT Female X BSPT Male Adapter
[6 empty] | http://www.mcmaster.com/#5272K194 | Brass Yor-Lok Tube Fitting Straight Adapter for 3/8" Tube OD X 1/4 NPT Male
4 port USB switch + Keyboard/Mouse + ethernet camera | Amazon | 220 | 2015-11-17 |  |  | http://www.amazon.com/Logitech-Wireless-Combo-Mk520-Keyboard/dp/B003VANO7C/ref=sr_1_3?ie=UTF8&qid=1447735892&sr=8-3&keywords=mk550+keyboard | Logitech Wireless Combo Mk520 With Keyboard and Mouse
[6 empty] | http://www.amazon.com/IOGEAR-Peripheral-Sharing-Switch-GUS404/dp/B00BD8I3EI/ref=cm_cd_al_qh_dp_t | IOGEAR 4 x 4 USB 2.0 Peripheral Sharing Switch (GUS404)
[6 empty] | http://www.amazon.com/Dahua-Megapixel-Infrared-Security-Surveillance/dp/B00HHINKPA/ref=cm_cr_pr_product_top?ie=UTF8#Ask | Dahua 3MP Megapixel 1080P HD Outdoor Night Vision Infrared IP Bullet Network Security Surveillance CCTV Camera PoE Power Over Ethernet
[6 empty] | http://www.amazon.com/CablesOnline-High-Quality-Antenna-Cable-R-BX040/dp/B00K4D5468/ref=sr_1_1?s=aht&ie=UTF8&qid=1447780682&sr=1-1&keywords=bnc+cable+40+ft | CablesOnline 40ft High-Quality RG8x Coax 50 OHM BNC Male/Male Antenna Cable (R-BX040)
[6 empty] | http://www.amazon.com/TP-LINK-TL-PoE150S-Gigabit-Injector-compliant/dp/B001PS9E5I/ref=pd_bxgy_421_img_2?ie=UTF8&refRID=1231WRM5W7660JAC5X05 | TP-LINK TL-PoE150S Gigabit PoE Injector Adapter, IEEE 802.3af compliant, Up to 100 meters (328 Feet): Power for camera
[6 empty] | http://www.amazon.com/BattleBorn-Enhanced-ETHERNET-NETWORK-internet/dp/B002HK8RQU/ref=sr_1_cc_1?s=aps&ie=UTF8&qid=1447781301&sr=1-1-catcorr&keywords=cat5e+ethernet+cable+75+ft | BattleBorn BLACK 75FT CAT5 Enhanced CAT5E RJ45 PATCH ETHERNET NETWORK CABLE 75'
screws for custom flange/helium bladder interface | McMaster | 20 | 2015-11-04 | ML4277 |  | http://www.mcmaster.com/#92185A561 | Type 316 SS Socket Head Cap Screw 1/4"-28 Thread, 3/4" Length, Packs of 10
[6 empty] | http://www.mcmaster.com/#92185A527 | Type 316 SS Socket Head Cap Screw 1/4"-28 Thread, 7/8" Long, Packs of 10
Control board for a Helium system pump interlock system | https://www.arduino.cc/ | 25 | 2016-01-06 | 4530 |  | http://store-usa.arduino.cc/products/a000066 | Arduino UNO Rev3
Power supply for the helium system pump interlock control board | Allied Electronics | 14 | 2015-01-06 | 4531 |  | http://www.alliedelec.com/triad-magnetics-wsu075-3200/70231050/ | Triad Magnetics WSU075-3200

## subassemblies
Block description | Block quantity | Item description | Pckg quantity | Link | Quantity/block | Quantity | Total Bought | Unit Cost | Total Cost | Current Shopping Cart | Extras |  | Ordered | Subtotals
Dewar Blow off manifolds | 2 | Brass 3-way air manifold, 1/4" FNPT | 1 | http://www.zoro.com/g/00061014/k-G0538842/ | 1 | 2 | 2 | 6.79 | 13.58 | purchased | 0 |  | 2014-05-30
Dewar Blow off manifolds | 2 | 1/4" MNPT to 1/4" ID tube barb | 1 | http://www.zoro.com/g/00056431/k-G1502916/ | 6 | 12 | 12 | 0.67 | 8.04 | purchased | 0 |  | 2014-05-30
Dewar Blow off manifolds | xx | 3/8" OD 1/4" ID Tygon 2375 tubing, only require ~ 25' for dewar blow off manifold | 1 | http://www.mcmaster.com/#5181k25/=s4lvqq | 1 | 25 | 100 | 1.72 |  | NO | 75
Dewar Blow off manifolds | 2 | Brass Apollo Ball valve, F-F 1/4" NPT | 1 | http://www.zoro.com/g/00060038/k-G2214116/ | 3 | 6 | 6 | 3.76 | 22.56 | purchased | 0 |  | 2014-05-30
Dewar Blow off manifolds | 2 | 3/8" tube to 1/4" MNPT straight, Quick-Assembly Brass ompression fittings | 1 | http://www.mcmaster.com/#5053K53 | 1 | 2 | 2 | 2.76 |  | NO | 0
Dewar Blow off manifolds | 2 | B-QC4-B-4PF, brass quick connect, body, 1/4" FNPT | 1 | swagelok.com | 3 | 6 | 7 | 18.8 | 131.6 | purchased | 1
Dewar Blow off manifolds | 2 | B-QC4-BP, Body cover with lanyard | 1 | swagelok.com | 3 | 6 | 7 | 7.4 | 51.8 | purchased | 1
Dewar Blow off manifolds | 1 | Crack Resistant polyethylene tubing, require ~15' | 1 | http://www.mcmaster.com/#5181K25 | 1 | 15 | 200 | 0.2 |  | NO | 185
Dewar Blow off manifolds | 2 | Hex Nipple,Brass,1/4 In,PK 10 | 10 | http://www.zoro.com/i/G2466572/?category=5764 | 3 | 6 | 10 | 9.17 | 9.17 | purchased | 4 |  | 2014-05-30 | 236.75
Dewar Blow Off | 3 | B-QC4-D-4PM, brass quick connect, stem w/valve, Male NPT | 1 | swagelok.com | 1 | 3 | 3 | 13.2 | 39.6 | purchased | 0
Dewar Blow Off | 3 | B-QC4-SP, stem cover with lanyard | 1 | swagelok.com | 1 | 3 | 3 | 8 | 24 | purchased | 0
Dewar Blow Off | 3 | vrvi-250-b-fs-2.0, in line releif valve, 1/4" M-1/4" F | 1 | www.columbiavalve.com, Michael McGarvey, (410) 290-1348, (301) 332-6011 Cell | 1 | 3 | 3 | 48.55 | 145.65 | purchased | 0 |  |  | 209.25
Diaphragm Pump assembly | 1 | ac4-4pbv-4, adjustable in line relief valve | 1 | www.columbiavalve.com, Michael McGarvey, (410) 290-1348, (301) 332-6011 Cell | 1 | 1 | 1 | 20.25 | 20.25 | purchased | 0
Diaphragm Pump assembly | 1 | Pressure transducer with controller, +/- 14.5 PSIG compound sensor, 1/8" NPT, PNP and High Output type, cable with connector included Mfg Part number, DP-101A-N-P, Digikey part number: 1110-1817-ND | 1 | http://www.digikey.com/product-detail/en/DP-101A-N-P/1110-1817-ND/3899350 | 1 | 1 | 1 | 117.9 | 117.9 | purchased | 0
Diaphragm Pump assembly | 1 | Brass Apollo Ball valve, F-F 1/4" NPT | 1 | http://www.zoro.com/g/00060038/k-G2214116/ | 2 | 2 | 2 | 3.76 | 7.52 | purchased | 0 |  | 2014-05-30
Diaphragm Pump assembly | 1 | Two right angle 1/4" shut off valves | 1 | Mcmaster | 2 | 2 | 2 |  |  | purchased
Diaphragm Pump assembly | 1 | High Density PolyEthylene, 1/4" ID 3/8" OD |  | Mcmaster |  | <25 | 25 | [6 empty] | 145.67
Diaphragm Pump assembly | 1 | 1/4" 1/8" brass bushing | 1 | http://www.mcmaster.com/#4429k411/=s53woq | 1 | 1 | 1 | 1.46 | 1.46 | purchased |  |  | 2014-05-30
Diaphragm Pump assembly | 1 | Relay: Cryodon NO SSR, model # EL240AR-05, AC output, 4 to 8V control voltage, random fire (inductive loads) |  | http://www.digikey.com/scripts/DkSearch/dksus.dll?Detail&itemSeq=150996037&uq=635370841761668795 | 1 | 1 | 1 | 28.99 | 28.99 | NO
Diaphragm Pump assembly |  |  |  | http://www.crydom.com/en/Products/Catalog/e_l.pdf
Pressurize/vent dewar | 3 | B-QF8-S-8PM, Brass Full Flow Quick-Connect Stem w/o Valve, 11.5 Cv, 1/2 in. Male NPT | 1 | http://www.swagelok.com/search/find_products_home.aspx?part=B-QF8-S-8PM&config=N | 1 | 3 | 3 | 13.7 | 41.1 | purchased | 0 |  | 2014-05-30 | 13.7
Pressurize/vent stations | 6 | B-QF8-B-8PF, Brass Full Flow Quick-Connect Body, 11.5 Cv, 1/2 in. Female NPT | 1 | http://www.swagelok.com/search/find_products_home.aspx?part=B-QF8-B-8PF&config=N | 1 | 7 | 8 | 33.6 | 268.8 | purchased | 1 |  | 2014-05-30
Pressurize/vent stations | 6 | 1/2" MNPT to barb for 1/4" tube | 5 | http://www.mcmaster.com/#5346K22 | 1 | 7 | 10 | 9.18 | 18.36 | purchased | 3 |  | 2014-05-30
Pressurize/vent stations | 6 | 3/8" OD 1/4" ID Tygon 2375 tubing, only require ~ 50' for all stations | 1 | http://www.mcmaster.com/#5181k25/=s4lvqq | 1 | 50 | 0 | 1.72 |  | NO | -50
Pressurize/vent stations | 6 | 1/4" Barb to 1/4" FNPT | 1 | http://www.zoro.com/i/G0474652/?category=6464 | 1 | 6 | 6 | 1.02 |  | NO | 0
Pressurize/vent stations | 6 | 3/8" tube to 1/4" MNPT straight, Quick-Assembly Brass ompression fittings | 1 | http://www.mcmaster.com/#5053K53 | 1 | 6 | 6 | 2.76 |  | NO | 0
Pressurize/vent stations | 6 | Crack Resistant polyethylene tubing, require ~25' | 1 | http://www.mcmaster.com/#5181K25 | 1 | 150 | 0 | 0.2 |  | NO | -150 |  |  | 287.16
Pressurize/vent stations | 6 | ClearFlex 60 Premium PVC tubing VI Max, 3/8" OD, 1/4" ID | 1 | http://products.uscosupply.com/item/all-categories-tubing-fittings-finger-lakes-tubing/clear-flex-60-premium-pvc-tubing/81604335? | 200 | 1 | 1 | 40 | 40 | purchased |  |  | 2014-05-30
Presure/Vent Manifold | 1 | Hex Nipple,Brass,1/4 In,PK 10 | 10 | http://www.zoro.com/i/G2466572/?category=5764 | 3 | 20 | 20 | 9.17 | 18.34 | purchased | 0 |  | 2014-05-30
Presure/Vent Manifold | 1 | Brass Crosses, 1/4", FNPT | 1 | http://www.zoro.com/i/G5123361/?category=5764 | 2 | 2 | 2 | 13.75 | 27.5 | purchased | 0 |  | 2014-05-30
Presure/Vent Manifold | 1 | 3/8" tube to 1/4" MNPT straight, Quick-Assembly Brass ompression fittings | 1 | http://www.mcmaster.com/#5053K53 | 7 | 7 | 7 | 2.76 | 19.32 | purchased | 0 |  | 2014-05-30
Presure/Vent Manifold | 1 | Apollo Ball valves, Brass Ball Valve,Inline,FNPT,1/4 In | 1 | http://www.zoro.com/g/00060038/k-G2214116/ | 12 | 12 | 12 | 3.76 | 45.12 | purchased | 0 |  | 2014-05-30
Presure/Vent Manifold | 1 | 1/4" F-F-F- NPT Brass Tee - 10 pack | 10 | http://www.zoro.com/g/00073786/k-G2253973/ | 7 | 7 | 10 | 27.63 | 27.63 | purchased | 3 |  | 2014-05-30
Presure/Vent Manifold | 1 | 1/4" Barb to 1/4" MNPT |  | http://www.zoro.com/g/00056431/k-G1502916/ | 6 | 6 | 6 | 0.67 | 4.02 | purchased |  |  | 2014-05-30 | 141.93
Presure/Vent Manifold | 1 | 1/4" Barb to 1/4" MNPT |  | http://www.zoro.com/g/00056431/k-G1502916/ | 6 | 6 | 6 |  |  | Have them
Return Line Manifold | 1 | 3/8" tube to 1/4" MNPT straight, Quick-Assembly Brass ompression fittings | 1 | http://www.mcmaster.com/#5053K53 | 2 | 2 | 2 | 2.76 | 5.52 | purchased |  |  | 2014-05-30 | 5.52
Liquifier/Manifold interface | 1 | 316 SS Flex line, single braid, 3/8" - 3/8" MNPT, 6' Long, He send line | 1 | http://processhose.com/1-4-in-t316-ss-annular-corrugated-metal-hose-assembly-with-t304-ss-single-braid-af5550.html | 1 | 1 | 1 | 98.94 | 98.94 | purchased |  |  | 2014-05-30
Liquifier/Manifold interface | 1 | 316 SS Flex line, single braid, 3/8" - 3/8" MNPT,4' Long, He return line | 1 | http://processhose.com/1-4-in-t316-ss-annular-corrugated-metal-hose-assembly-with-t304-ss-single-braid-af5550.html | 1 | 1 | 1 | 76.62 | 76.62 | purchased |  |  | 2014-05-30
Liquifier/Manifold interface | 1 | Brass Compression Tube Fitting, Straight Adapter for 1/4" Tube OD x 3/8 Male Pipe | 1 | http://www.mcmaster.com/#50915k316/=s524wy | 1 | 1 | 1 | 3.59 | 3.59 | purchased |  |  | 2014-05-30
Liquifier/Manifold interface | 1 | Brass Compression Tube Fitting, 90 Degree Elbow for 1/4" Tube OD x 1/4 Male Pipe | 1 | http://www.mcmaster.com/#50915k715/=s5269r | 1 | 1 | 1 | 3.22 | 3.22 | purchased |  |  | 2014-05-30
Liquifier/Manifold interface | 1 | Low-Pressure Brass Threaded Pipe Fitting, 3/8 x 1/2 x 3/8 Pipe Size, Inline Reducing Tee | 1 | http://www.mcmaster.com/#4429k225/=s52w35 | 1 | 1 | 1 | 14.04 | 14.04 | purchased |  |  | 2014-05-30
Liquifier/Manifold interface | 1 | 1/4" OD Copper tubing |  | URI.com | [5 empty] | Purchased
Liquifier/Manifold interface | 1 | Medium-Pressure Brass Threaded Pipe Fitting, 3/8 Pipe Size, 90 Degree Male x Female Elbow | 1 | http://www.mcmaster.com/#50785k44/=s52yqt | 1 | 1 | 1 | 4.38 | 4.38 | purchased |  |  | 2014-05-30
Liquifier/Manifold interface | 1 | Quick connect Body, B-QC6-B-6PF, 3/8" Female NPT thread, Brass | 1 | https://www.swagelok.com/search/find_products_home.aspx?part=B-QC6-B-6PF&config=N | 1 | 1 | 1 | 23.9 | 23.9 | purchased |  |  | 2014-05-30
Liquifier/Manifold interface | 1 | Quick Connect Stem w/out valve, B-QC6-S-6PM, 3/8" Male NPT Thread, Brass | 1 | https://www.swagelok.com/search-results/search-results.aspx?qs=B-QC6-S-6PM | 1 | 1 | 1 | 15.1 | 15.1 | purchased |  |  | 2014-05-30 | 239.79
Purifier | 1 | Pipe Nipple: 1/2 Pipe Size x 6-1/2" Length - send line extension | 1 | http://www.mcmaster.com/#4568k394/=s6cuzl | 1 | 1 | 1 | 9.61 | 9.61 | purchased |  |  | 2014-05-30
Purifier | 1 | 1/2" F-F NPT coupler-send line extension | 1 | http://www.zoro.com/i/G4539227/?category=5764&whence= | 1 | 1 | 1 | 5.75 | 5.75 | purchased |  |  | 2014-05-30
Purifier | 1 | Heater, 8.625" ID, 1200W at 120V, hinged, Quote #2599582 | 1 | http://www.ppe.com/ | 1 | 1 | 1 | 119.95 | 119.95 | purchased |  |  | 2014-06-03
Dewar Fill Manifold | 1 | B-QF8-B-8PF, Brass Full Flow Quick-Connect Body, 11.5 Cv, 1/2 in. Female NPT | 1 | http://www.swagelok.com/search/find_products_home.aspx?part=B-QF8-B-8PF&config=N | 1 | 1 | 0 | 33.6 | 0 | purchased | -1 |  | 2014-05-30
Dewar Fill Manifold | 1 | 316 SS Flex line, single braid, 3/8" - 3/8" MNPT, 6' Long | 1 | http://processhose.com/1-4-in-t316-ss-annular-corrugated-metal-hose-assembly-with-t304-ss-single-braid-af5550.html | 1 | 1 | 1 | 98.94 |  | NO
Dewar Fill Manifold | 1 | 3/8" F-F NPT Brass 45 degree elbow | 1 | http://www.mcmaster.com/#4429k262/=s501ju | 1 | 1 | 1 | 8.34 |  | NO
Dewar Fill Manifold | 1 | 3/8" F-F NPT Brass Ball valve | 1 | http://www.zoro.com/i/G1634866/?category=5796 | 1 | 1 | 1 | 3.53 |  | NO
Dewar Fill Manifold | 1 | 3/8" Nipple, 5" long | 1 | http://www.mcmaster.com/#2729k53/=s5043l | 1 | 1 | 1 | 4.64 |  | NO
Dewar Fill Manifold | 1 | 3/8" Nipple, 4" long | 1 | http://www.mcmaster.com/#2729k62/=s505tq | 1 | 1 | 1 | 5.41 |  | NO
Dewar Fill Manifold | 1 | Low-Pressure Brass Threaded Pipe Fitting, 1/2 Male x 3/8 Female Pipe Size, Hex Reducing Bushing | 1 | http://www.mcmaster.com/#4429k413/=s50b3j | 1 | 1 | 1 | 3.59 |  | NO |  |  |  | 0
Dewar Fill Manifold | 1 | 316 SS Flex line, single braid, 1/2" - 1/2" MNPT, 6' Long | 1 | http://processhose.com/1-4-in-t316-ss-annular-corrugated-metal-hose-assembly-with-t304-ss-single-braid-af5550.html | 1 | 1 | 1 | 99.02 | 99.02 | purchased |  |  | 2014-05-30
Dewar Fill Manifold | 1 | 1/2" F-F NPT Brass 45 degree elbow | 1 | http://www.mcmaster.com/#4429k263/=s6m8md | 1 | 1 | 1 | 8.34 | 8.34 | purchased |  |  | 2014-05-30
Dewar Fill Manifold | 1 | 1/2" F-F NPT Brass Ball valve | 1 | http://www.zoro.com/i/G1634866/?category=5796 | 1 | 1 | 1 | 7.98 | 7.98 | purchased |  |  | 2014-05-30
Dewar Fill Manifold | 1 | 1/2" Nipple, 5" long | 1 | http://www.mcmaster.com/#2729k63/=s6m82r | 1 | 1 | 1 | 7.5 | 7.5 | purchased |  |  | 2014-05-30
LN Transfer line | 1 | 1/2" Male 45 Degree SAE to 1/2" Female NPT, straight | 1 | http://www.mcmaster.com/#50635k445/=s62p7t | 1 | 1 | 1 | 7.37 | 7.37 | Purchased |  |  | 2014-05-30
LN Transfer line | 1 | Quick-Assembly Brass 45°Flared Fitting, Short Nut for 1/2" Tube OD | 1 | http://www.mcmaster.com/#50635k565/=s62sfb | 1 | 2 | 2 | 3.11 | 6.22 | Purchased |  |  | 2014-05-30
LN Transfer line | 1 | Panel-Mount Brass Ball Valve Elbow, 1/4" NPT Female | 1 | 4118T64 | 1 | 1 | 1 | 33.58 | 33.58 | Purchased |  |  | 2014-05-27
LN Transfer line | 1 | Low-Pressure Brass Threaded Pipe Fitting 3/8 Pipe Size, Wye | 1 | 4429K361 | 1 | 1 | 1 | 25.49 | 25.49 | Purchased |  |  | 2014-05-27
LN Transfer line | 1 | Med-Pressure Brass Threaded Pipe Fitting 3/8 Pipe Size, Through-Wall Coupling | 1 | 50785K274 | 1 | 1 | 1 | 11.23 | 11.23 | Purchased |  |  | 2014-05-27
LN Transfer line | 1 | Quick-Assembly Brass 45 Degree Flared Fitting 90 Degree Elbow for 1/2" Tube X 3/8 NPTF Male | 1 | 50635K416 | 1 | 1 | 1 | 6.41 | 6.41 | Purchased |  |  | 2014-05-27
LN Transfer line | 1 | Quick-Assembly Brass 45 Degree Flared Fitting Straight Adapter for 1/2" Tube OD X 3/8 NPTF Male | 1 | 50635K386 | 1 | 1 | 1 | 3.52 | 3.52 | Purchased |  |  | 2014-05-27
LN Transfer line | 1 | Slotted-Head Style Muffler 1/2 NPT Male, 130 SCFM, 2-1/16" Height | 1 | 8158T34 | 1 | 1 | 1 | 8.68 | 8.68 | Purchased |  |  | 2014-05-27
LN Transfer line | 1 | Quick-Assembly Brass 45 Degree Flared Fitting Straight Adapter for 3/8" Tube OD X 1/2 NPTF Female | 1 | 50635K441 | 1 | 1 | 1 | 7.19 | 7.19 | Purchased |  | Error: wrong part | 2014-05-27
LN Transfer line | 1 | Quick-Assembly Brass 45 Degree Flared Fitting Short Nut for 3/8" Tube OD | 1 | 50635K564 | 1 | 2 | 2 | 2.19 | 4.38 | Purchased |  | Error: wrong part | 2014-05-27
LN Transfer line | 1 | Durable Nylon Compression Tube Fitting Through-Wall Straight Connector for 1/2" Tube OD | 1 | 50775K377 | 1 | 1 | 1 | 7.26 | 7.26 | Purchased |  |  | 2014-05-27
LN Transfer line | 1 | Cryogenic solenoid valve, ASCO/Red Hat Mfg #8263H206LT (120/60), Zoro part number G3637751 | 1 | http://www.zoro.com/i/G3637751/?category=6844 | 1 | 1 | 1 | 245 | 245 | Purchased |  |  | 2014-05-27
LN Transfer line | 1 | Apollo Brass Ball Valve, Inline, FNPT, 3/8 In | 1 | http://www.zoro.com/i/G1634866/?category=5796 | 1 | 1 | 1 | 3.53 | 3.53 | Purchased |  | Error: Not ordered until 6/5/2014 | 2014-05-30
LN Transfer line | 1 | Hose Barb, 1/4 In, 3/8 MNPT, Brass | 1 | http://www.zoro.com/i/G2301844/?category=6464&whence= | 1 | 1 | 1 | 1.46 | 1.46 | Purchased |  |  | 2014-05-30
LN Transfer line | 1 | Muffler, Hex Style, 3/8 NPT Male, 23 Maximum scfm, 1-1/2" Height | 1 | http://www.mcmaster.com/#4450k3/=s63zuq | 1 | 1 | 1 | 2.94 | 2.94 | Purchased |  |  | 2014-05-30
LN Transfer line | 1 | Medium-Pressure Brass Threaded Pipe Fitting, 3/8 Pipe Size, Hex Coupling | 1 | http://www.mcmaster.com/#50785k93/=s6415p | 1 | 1 | 1 | 2.81 | 2.81 | Purchased |  |  | 2014-05-30
LN Transfer line | 1 | Relay: Cryodon NO SSR, model # EL240AR-05, AC output, 4 to 8V control voltage, random fire (inductive loads) |  | http://www.digikey.com/scripts/DkSearch/dksus.dll?Detail&itemSeq=150996037&uq=635370841761668795 | 1 | 1 | 1 | 28.99 | 28.99 | NO
LN Transfer line |  |  |  | http://www.crydom.com/en/Products/Catalog/e_l.pdf
LN Transfer line | 1 | 1 kOhm 25W resistor -- in parallel with solenoid valve from relay (to draw minimum current of relay) | 1 | http://www.digikey.com/product-detail/en/KAL25FB1K00/KAL25FB1K00-ND/1646190 | 1 | 1 | 1 | 3.08 | 3.08 | NO
LN Transfer line | 1 | Unisource UF21 Stainless Steel Cryogenic Liquid Cylinder Hose Assembly, 1/2" Stainless Steel 316 Female Flare CGA 295 Connection, 1160 PSI Maximum Pressure, 4' Length, 1/2" ID | 1 | amazon | 1 | 1 | 1 | 135 | 135 | Purchased |  |  | 2014-05-23
Liquefier valve/MAF assembly | 1 | RED HAT 8222G002LT cryogenic solenoid valve, 1/2" F-F NPT, for use in liquefier manifold |  | http://www.ebay.com/itm/281345793306 | 1 | 1 | 1 | 200 | 200 | purchased |  | Personal CC, | 5/28/2014
https://www.ascovalve.com/Common/PDFFiles/Product/CryogenicR4.pdf
Lab Experiment to Manifold recovery lines | 1 | 3x 10' Cu, 1 1/2" nominal pipe | 1 | http://www.zoro.com/i/G1192125/?category=6437&whence= | 1 | 3 | 3 | 84 | 252 | Yes |  |  | 2014-06-04
Lab Experiment to Manifold recovery lines | 1 | 1 1/2" elbow, Cu, 90° Short Elbows, Female Socket-End to Female Socket-End | 1 | http://www.mcmaster.com/#5520k65/=s9m3ka | 1 | 2 | 2 | 6.81 | 13.62 | yes |  |  | 2014-06-04
Lab Experiment to Manifold recovery lines | 1 | 1 1/2" elbow, Cu, Solder-Connection Copper Fitting for Drinking Water, 90 Degree Elbow, Tube to Socket, for 1-1/2 Tube Size | 1 | http://www.mcmaster.com/#5520k717/=s9mg1a | 1 | 2 | 2 | 8.5 | 17 | Yes |  |  | 2014-06-04
Lab Experiment to Manifold recovery lines | 1 | 1 1/2" Tee, Cu, Solder-Connection Copper Fitting for Drinking Water, Tee, Socket to Socket, for 1-1/2 Tube Size | 1 | http://www.mcmaster.com/#5520k75/=s9mg9e | 1 | 3 | 3 | 14.56 | 43.68 | Yes |  |  | 2014-06-04
Lab Experiment to Manifold recovery lines | 1 | Strut-Mount Clamp, Zinc-Plated Steel, for 1-5/8" Tube OD | 1 | http://www.mcmaster.com/#3115t356/=s9ml7v | 1 | 8 | 8 | 1.74 | 13.92 | Yes |  |  | 2014-06-04
Lab Experiment to Manifold recovery lines | 1 | Steel Strut Channel, Slotted, 1-5/8" x 1-5/8", Primed, 8' Length | 1 | http://www.mcmaster.com/#3310t119/=s9mm5u | 1 | 1 | 1 | 45.5 | 45.5 | Yes |  |  | 2014-06-04
Lab Experiment to Manifold recovery lines | 1 | KF-40 to 1 5/8" OD pipe, solder, Brass | 1 | https://www.ancorp.com/product.aspx?id=3463 | 1 | 5 | 5 | 13.5 | 67.5 | Yes |  |  | 2014-06-05
Lab Experiment to Manifold recovery lines | 1 | KF-40 Caps, brass | 1 |  | 1 | 10 | 0 | 12.47 | 0 | Yes |  |  | 2014-06-05
Lab Experiment to Manifold recovery lines | 1 | Hinge Clamp KF-40 Vacuum Fittings, ISO-KF Flange Size NW-40, Aluminum |  | http://www.pchemlabs.com/product.asp?pid=1200 | 1 | 15 | 7 | 8.85 | 61.95 | Yes |  |  | 2014-06-05
Lab Experiment to Manifold recovery lines | 1 | KF40 Rings, aluminum | 1 | hyvac.com | 1 | 15 | 3 | 4 | 12 | Yes |  |  | 2014-06-05
Bolo Fixtures | 1 | KF16 to 1/2" OD pipe, solder, Brass | 1 | https://www.ancorp.com/product.aspx?id=3457 | 1 | 1 | 1 | 8 | 8 | Yes |  |  | 2014-06-05
Line #2 Hang-down extensions | 1 | KF-40 to 1 5/8" OD pipe, solder, Brass | 1 | https://www.ancorp.com/product.aspx?id=3463 | 1 | 4 | 4 | 13.5 | 54 | Yes |  |  | 2014-06-05
Line #2 Hang-down extensions | 1 | Hinge Clamp KF-40 Vacuum Fittings, ISO-KF Flange Size NW-40, Aluminum |  | http://www.pchemlabs.com/product.asp?pid=1200 | 1 | 2 | 2 | 8.85 | 17.7 | Yes |  |  | 2014-06-05
Line #2 Hang-down extensions | 1 | KF40 Rings, aluminum | 1 | hyvac.com | 1 | 2 | 2 | 4 | 8 | Yes |  |  | 2014-06-05
Bolo vent connections | 1 | Adapter KF-16 to 1/8 in. NPT-F Pipe, Stainless Stee |  | http://www.pchemlabs.com/product.asp?pid=1315 | 1 | 3 | 3 | 17.55 | 52.65 | Yes |  |  | 2014-06-05
Bolo vent connections | 1 | Circle Seal Controls (CRC) 532B-1M-2, 1/8" MNPT, description: Relief valve, brass with viton oring, 2 PSI cracking pressure | 1 | http://www.circlesealcontrols.com/distributors/us.html#MD | 1 | 3 | 3 | 28.85 | 86.55 | Yes |  |  | 2014-06-04
Bolo vent connections | 1 | Hinge Clamp KF-16 Vacuum Fittings, ISO-KF Flange Size NW-10, NW-16, Aluminum |  | http://www.pchemlabs.com/product.asp?pid=1198 | 1 | 7 | 2 | 5.6 | 11.2 | Yes |  |  | 2014-06-05
Bolo vent connections | 1 | KF-16 ring, aluminum |  | hyvac.com | 1 | 7 | 0 | 2.67 | 0 | Yes |  |  | 2014-06-05
Oxford cryostat connections | 1 | Adapter KF-16 to 1/8 in. NPT-F Pipe, Stainless Stee |  | http://www.pchemlabs.com/product.asp?pid=1315 | 1 | 1 | 1 | 17.55 | 17.55 | Yes |  |  | 2014-06-05
Oxford cryostat connections | 1 | Hinge Clamp KF-16 Vacuum Fittings, ISO-KF Flange Size NW-10, NW-16, Aluminum |  | http://www.pchemlabs.com/product.asp?pid=1198 | 1 | 1 | 1 | 5.6 | 5.6 | Yes |  |  | 2014-06-05
Oxford cryostat connections | 1 | KF-16 ring, aluminum |  | hyvac.com | 1 | 1 | 0 | 2.67 | 0 | Yes |  |  | 2014-06-05
Correction to pressurize/vent dewar | 1 | 1/2" to 1/4" FNPT-FNPT bushing | 1 | None |  | 6 | 0
Correction to pressurize/vent dewar | 1 | 1/4" NPT short nipple, pack 10 | 1 | http://www.zoro.com/i/G3076665/?category=5764 |  | 4 | 1 | 2.78 | 2.78 | Yes |  |  | 2014-06-04
Correction to pressurize/vent dewar | 1 | Brass Apollo Ball valve, F-F 1/4" NPT | 1 | http://www.zoro.com/g/00060038/k-G2214116/ | 1 | 6 | 6 | 3.76 | 22.56 | Yes |  |  | 2014-06-04
Correction to pressurize/vent dewar | 1 | 1/4" MNPT to 1/4" ID tube barb | 1 | http://www.zoro.com/g/00056431/k-G1502916/ | 1 | 6 | 6 | 0.67 | 4.02 | Yes |  |  | 2014-06-04
Pressurize/vent line to Convert to bolo vent | 1 | Adapter KF-16 to 1/4 NPT-Female, Flange Size ISO-KF NW-16, Stainless Steel | 1 | http://www.pchemlabs.com/product.asp?pid=1308 | 2 | 2 | 2 | 18.5 | 37 | Yes |  |  | 2014-06-05
Bolo Fixtures | 1 | 1/2" to 1/4" M-M NPT reducer |  | http://www.zoro.com/i/G0935121/?category=5764 | 2 | 2 | 4 | 1.6 | 6.4 | NO
Pressurize/vent line to Convert to bolo vent | 1 | B-QF8-S-8PM, Full Flow quick connect stem with 1/2" Male NPT |  | http://www.swagelok.com/search/find_products_home.aspx?part=B-QF8-S-8PM&item= | 2 | 2 | 2 | 13.7 | 27.4 | Yes |  |  | 2014-06-04
Pressurize/vent line to Convert to bolo vent | 1 | Adapter KF-16 to 1/8 in. NPT-F Pipe, Stainless Stee |  | http://www.pchemlabs.com/product.asp?pid=1315 | 1 | 2 | 2 | 5.6 | 11.2 | Yes |  |  | 2014-06-05
Pressurize/vent line to Convert to bolo vent | 1 | KF-16 ring, aluminum |  | hyvac.com | 1 | 2 | 0 | 2.67 | 0 | Yes |  |  | 2014-06-05
Experimental Isolation valves and vacuum hose connections | 4 | Adapter KF-16 to 1/4 NPT-Female, Flange Size ISO-KF NW-16, Stainless Steel | 1 | http://www.pchemlabs.com/product.asp?pid=1308 | 2 | 8 | 8 | 18.5 | 148 | Yes |  |  | 2014-06-05
Experimental Isolation valves and vacuum hose connections | 4 | Brass Apollo Ball valve, F-F 1/4" NPT | 1 | http://www.zoro.com/g/00060038/k-G2214116/ | 1 | 4 | 4 | 3.76 | 15.04 | Yes |  |  | 2014-06-04
Experimental Isolation valves and vacuum hose connections | 4 | 1/4" Brass nipples | 1 | None | 2 | 8 | 0 |  |  | Yes
Experimental Isolation valves and vacuum hose connections | 4 | KF-16 to hose barb, for hose ID of 0.63 to 0.75, item QF16-63/75-H | 1 | https://www.ancorp.com/line.aspx?id=615&catid=51 | 2 | 8 | 2 | 10.5 | 21 | Yes |  |  | 2014-06-05
Experimental Isolation valves and vacuum hose connections | 4 | Adapter KF-16 to 1/8 in. NPT-F Pipe, Stainless Stee |  | http://www.pchemlabs.com/product.asp?pid=1315 | 2 | 8 | 8 | 5.6 | 44.8 | Yes |  |  | 2014-06-05
Experimental Isolation valves and vacuum hose connections | 4 | KF-16 ring, aluminum | 1 | hyvac.com | 2 | 8 | 0 | 2.67 | 0 | Yes |  |  | 2014-06-05
Experimental Isolation valves and vacuum hose connections | 3 | KF-40 to hose barb, for hose ID of 1.50 to 1.63, item QF40-150/163-H | 1 | https://www.ancorp.com/line.aspx?id=615&catid=51 | 2 | 6 | 6 | 18 | 108 | Yes |  |  | 2014-06-05
Experimental Isolation valves and vacuum hose connections | 3 | Hinge Clamp KF-40 Vacuum Fittings, ISO-KF Flange Size NW-40, Aluminum |  | http://www.pchemlabs.com/product.asp?pid=1200 | 2 | 6 | 6 | 8.85 | 53.1 | Yes |  |  | 2014-06-05
Experimental Isolation valves and vacuum hose connections | 3 | KF-40 ring, aluminum | 1 | hyvac.com | 2 | 6 | 6 | 4 | 24 | Yes |  |  | 2014-06-05
Experimental Isolation valves and vacuum hose connections |  | 5/8" ID x .861" OD POLYSPRING® PVC Vacuum Hose | Item #54066 | http://www.usplastic.com/catalog/item.aspx?itemid=33951&catid=736 | 1 | 50 | 50 | 1.86 | 93 | Yes |  |  | 2014-06-04
Experimental Isolation valves and vacuum hose connections |  | 1-1/2" ID x 1.854" OD POLYSPRING® PVC Vacuum Hose | Item #54070 | http://www.usplastic.com/catalog/item.aspx?itemid=35447&catid=736 | 1 | 30 | 30 | 5.69 | 170.7 | Yes |  |  | 2014-06-04
1577.42
General
|  | Hose Crimper, Capacity 1/4 to 3/8 In, Length 12-1/4 In, Width 3-1/8 In, Height 3-5/16 In, For Use With Hose Barbs and Ferrules, Includes 5 Die Sets | 1 | http://www.zoro.com/i/G0440973/?category=5179 | 1 | 1 | 1 | 90.23 |  | No
|  | hose Ferrules, ID=.380" | 50 | http://www.mcmaster.com/#5349k41/=s4m6yk | 1 | <50 | 50 | 10.65 |  | No
|  | Color coding gas lines |  | http://www.cabletiesandmore.com/american/catalog/inch-heat-shrink-tubing-foot-p-137.php | [5 empty] | NO |  |  |  | 0
|  | G1389297, Poly-Tite Compression Fittings,Sleeve,Brass,Comp,3/8In,PK10 | 10 | http://www.zoro.com/g/00057467/k-G1389297/ | 1 | 20 | 3 | 5.81 | 17.43 | purchased |  |  | 2014-05-30
|  | Gap-Free Pinch Hose and Tube Clamp, 3/8" to 7/16" Clamp Diameter Range, 13/64" Band Wid | 25 | http://www.mcmaster.com/#52545k45/=s6lixr | 2 | 50 | 2 | 9.23 | 18.46 | purchased |  |  | 2014-05-30
|  | Side Jaw Pincer ~8" long | 1 | http://www.mcmaster.com/#6541k69/=s6ljwf | 1 | 1 | 1 | 29.85 | 29.85 | purchased |  |  | 2014-05-30
Already purchased xxx number of 1/4" F-F NPT Apollo ball valves with PTFE seals from Zoro
LR=Liquefier Room
LR main line |  | Cu adapter, 1/2"x1/2" FNPTxsweat © | CFAD | Ferguson |  | 1
LR main line |  | 1/2" Ball valve, solder, CxC | G2152552 | Zoro |  | 1
LR main line |  | Cu Cross, 1/2", CxCxCxC |  | amazon |  | 1
LR Pressure transducer |  | Cu elbow 90 degree, 1/2" street (FTGxC) | CS9D | Ferguson |  | 1
LR Pressure transducer |  | Cu Adapter, 1/2"x1/8" Bushing (FTG x FNPT) | CFFFLBDA | Ferguson |  | 1
LR Diaphragm Pump |  | 1/2" Ball valve, solder, CxC | G2152552 | Zoro |  | 2
LR Diaphragm Pump |  | Cu Adapter 1/2"x3/8" CxFNPT | CFADC | Ferguson |  | 2
LR Diaphragm Pump |  | Brass, 3/8" MNPT x 3/8" OD Tube compression fitting |  |  |  | 2
LR Purifier Send line |  | Cu Tee, 1/2"x1/2"x1/2", CxCxC | CTD | Ferguson |  | 1
LR Purifier Send line |  | Cu Adapter, 1/2"x1/2", CxMNPT | CMAD | Ferguson |  | 1
LR Purifier Send line |  | 1/2" Ball valve, solder, CxC | G2152552 | Zoro |  | 1 | 0
LR Purifier Send line |  | Cu elbow 90 degree, 1/2" street (FTGxC) | CS9D | Ferguson |  | 1
LR Purifier Send line |  | KF40 Cap, drilled through and brazed to Cu Elbow |  |  |  | 1
Purifier flex line connection |  | Medium-Pressure Brass Threaded Pipe Fitting, 1/2 Pipe Size, Through-Wall Coupling | 50785K275 | McMaster |  | 2
Purifier flex line connection |  | Low-Carbon Steel 90 Degree Angle, 3" x 3" Legs, 1/4" Wall Thickness, 1 foot | 9017K734 | McMaster |  | 1
LR Purifier Return line/Liquefier send line |  | Cu Adapter, 1/2"x1/2", CxMNPT | CMAD | Ferguson |  | 1 | 0
LR Purifier Return line/Liquefier send line |  | Cu Tee, 1/2"x1/2"x1/2", CxCxC | CTD | Ferguson |  | 1
LR Purifier Return line/Liquefier send line |  | 1/2" Ball valve, solder, CxC | G2152552 | Zoro |  | 2 |  | 14.65
LR Purifier Return line/Liquefier send line |  | Cu elbow 90 degree, 1/2" street (FTGxC) | CS9D | Ferguson |  | 1
LR Purifier Return line/Liquefier send line |  | Cu Adapter 1/2"x3/8" CxFNPT | CFADC | Ferguson |  | 1
LR Liquefier exhaust line |  | Cu Adapter 1/2"x3/8" CxFNPT | CFADC | Ferguson |  | 1
LR Liquefier exhaust line |  | Cu elbow 90 degree, 1/2" street (FTGxC) | CS9D | Ferguson |  | 1
LR Liquefier exhaust line |  | Cu elbow 90 degree, 1/2" CxC | C9D | Ferguson |  | 3
LR Liquefier exhaust line |  | 1/2" Ball valve, solder, CxC | G2152552 | Zoro |  | 1
LR Liquefier exhaust line |  | Cu Tee, 1/2"x1/2"x1/2", CxCxC | CTD | Ferguson |  | 2
LR dewar exhaust line |  | Cu Tee, 1/2"x1/2"x1/2", CxCxC | CTD | Ferguson |  | 1
LR dewar exhaust line |  | Cu Adapter 1/2"x1/2" FTGxFNPT | CFFAD | Ferguson |  | 1
LR dewar exhaust line |  | Cu Adapter 1/2"x1/4" FTGxMNPT | CMADB | Ferguson | CFADB | 1
LR MAF+T/Solenoid Assembly |  | Cu Tee, 1/2"x1/2"x1/2", CxCxC | CTD | Ferguson |  | 3
LR MAF+T/Solenoid Assembly |  | 1/2" Ball valve, solder, CxC | G2152552 | Zoro |  | 1
LR MAF+T/Solenoid Assembly |  | Brass Ball Valve with T-Handle for 1/2" Tube Size, Fits 5/8" Tube OD, Solder-End | 4082T31 | McMaster |  | 2
LR MAF+T/Solenoid Assembly |  | Cu elbow 90 degree, 1/2" street (FTGxC) | CS9D | Ferguson |  | 3
LR MAF+T/Solenoid Assembly |  | Cu Adapter, 1/2"x1/2", CxMNPT | CMAD | Ferguson |  | 2
Lab MAF+T Assembly |  | Brass Ball Valve with T-Handle for 1/2" Tube Size, Fits 5/8" Tube OD, Solder-End | 4082T31 | McMaster |  | 2
Lab MAF+T Assembly |  | Cu elbow 90 degree, 1/2" street (FTGxC) | CS9D | Ferguson |  | 3
Cu Extras |  | 1/2 Wrot Copper X Female Adapter | CFAD | Ferguson
Cu Extras |  | Cu Adapter, 1/2"x1/2",FTGxMNPT | CFMAD | Ferguson |  | 2
Cu Extras |  | Cu elbow 90 degree, 1/2" street (FTGxC) | CS9D | Ferguson |  | 4
Cu Extras |  | Cu elbow 90 degree, 1/2" CxC | C9D | Ferguson |  | 4
Cu Extras |  | Cu Tee, 1/2"x1/2"x1/2", CxCxC | CTD | Ferguson |  | 2
Purity meter |  | Coil Tubing,Welded,1/8 In,50 ft,316 SS | G0723161 | Zoro |  | 1
Purity meter |  | Brass Ball Valve, 3/8" NPT Connection, Female x Male, Short Lever | 47865K12 | McMaster |  | 2
Purity meter |  | Low-Pressure Brass Threaded Pipe Fitting, 3/8 Male x 1/8 Female Pipe Size, Hex Reducing Bushing | 4429K471 | McMaster |  | 3 |  | 72.77 | 72.77
Purity meter |  | Medium-Pressure Brass Threaded Pipe Fitting, 3/8 Pipe Size, Female x Female x Male Tee | 50785K223 | McMaster |  | 3
Purity meter |  | Brass Compression Tube Fitting, Straight Adapter for 1/8" Tube OD x 1/8 Male Pipe | 50915k311 | http://www.mcmaster.com/#50915k311/=sivq2o |  | 3 |  | 11.37
Purity meter |  | Brass Compression Tube Fitting, Tee for 1/8" Tube OD | 50915K151 | McMaster |  | 1 |  | 1.42
7.21
Correction to pressurize/vent dewar stations |  | Barb, Adapter for 1/4" Hose ID x 1/2" NPTF Male Pipe | 5346K44 | McMaster |  | 6 |  | 1.7
Correction to pressurize/vent dewar stations |  | Brass Ball Valve with T-Handle, 1/2" NPT Connection, Female x Male | 4082T44 | McMaster |  | 7 |  | 7.48
Incidentals |  | 32 oz PVC Reg Clear Cement | O31015 | Ferguson |  | 1
Incidentals |  | 32 oz Dauber | O31312 | Ferguson |  | 1
Incidentals |  | 12 IN Gallon CAN Swab Applicator | O31276 | Ferguson |  | 1 |  | 27
Incidentals |  | 32 oz All Purpose Clear Cleaner | O30805 | Ferguson |  | 1
Incidentals |  | 32 oz Purple Primer - NSF Listed | O30758 | Ferguson |  | 1
Incidentals |  | 16 oz All Purpose Leak Detector | O30211 | Ferguson |  | 1
Pipe and hangers |  | 1-1/2 X 20 M Hard Copper Tube, 10' sections | MHARDJ20 | Ferguson |  | 2
Pipe and hangers |  | 2" x 10' PVC, schedule 40 solid core (pressure) pipe | P40PK10 | Ferguson |  | 22
Pipe and hangers |  | 4" x 10', scehdule 40 PVC, solid core (pressure) pipe | P40PP10 | Ferguson |  | 11
Pipe and hangers |  | 1/2" copper hard copper pipe, 10' sections | LHARDD10 | Ferguson |  | 3
PVC Lab |  | 2" Cast Iron PVC / Steel X 1-1/2 Tubular Coupling | F3001215 | Ferguson |  | 3
PVC Lab |  | 2 PVC Schedule 40 Slip X Slip 45 Elbow | P40S4K | Ferguson |  | 6
PVC Lab |  | 2 PVC Schedule 40 Slip X Slip 90 Elbow | P40S9K | Ferguson |  | 3
PVC Lab |  | 4 PVC Schedule 40 Slip X Slip Coupling | P40SCP | Ferguson |  | 2
PVC Lab |  | 2 PVC Schedule 40 Slip X Slip Coupling | P40SCK | Ferguson |  | 2
PVC Hall |  | 4 PVC Schedule 40 Slip X Slip 45 Elbow | P40S4P | Ferguson |  | 2
PVC Hall |  | 2 PVC Schedule 40 Slip X Slip Coupling | P40SCK | Ferguson |  | 2
PVC Bag room |  | 2 PVC Schedule 40 Slip X Slip Coupling | P40SCK | Ferguson |  | 6
PVC Bag room |  | 4 PVC Schedule 40 Slip X Slip Coupling | P40SCP | Ferguson |  | 3
PVC Bag room |  | 2 PVC Schedule 40 Slip X Slip 90 Elbow | P40S9K | Ferguson |  | 2
PVC Bag room |  | 4 PVC Schedule 40 Slip X Slip 90 Elbow | P40S9P | Ferguson |  | 1
PVC Liquefier room |  | 4 X 4 X 2 PVC Schedule 40 Slip X Slip X Slip Tee | P40STPPK | Ferguson |  | 3
PVC Liquefier room |  | 2" spigot to 1/2" FNPT | P40SFBKD | Ferguson |  | 1
PVC Liquefier room |  | PVC 1/2"-1/2" MNPTxMNPT nipple, 3" long | 4882k43 | McMaster |  | 1
PVC Liquefier room |  | 4 PVC Schedule 40 Slip X Slip 90 Elbow | P40S9P | Ferguson |  | 2
PVC Liquefier room |  | 4 PVC SW Two Piece Ball Valve EPDM | PFPSBVP | Ferguson |  | 1
PVC Liquefier room |  | 2 PVC Schedule 40 Slip X Slip 90 Elbow | P40S9K | Ferguson |  | 4
PVC Liquefier room |  | 2 PVC SW One Piece Ball Valve EPDM | PFPSBVK | Ferguson |  | 2
PVC Helium Bag fitting |  | 4 PVC Schedule 40 Slip X Slip 90 Elbow | P40S9P | Ferguson |  | 1
PVC Helium Bag fitting |  | 4" OD 3"ID PVC tube for Flange construction |  | McMaster |  | 1
PVC Helium Bag fitting |  | 6" x 6" PVC sheet, 1.5" thick, for flange construction |  | McMaster |  | 1
PVC Extra fittings |  | 2 PVC Schedule 40 Slip X Slip Coupling | P40SCK | Ferguson |  | 8
PVC Extra fittings |  | 2 PVC Schedule 40 Slip X Slip 90 Elbow | P40S9K | Ferguson |  | 8
PVC Extra fittings |  | 2 PVC Schedule 40 Slip X Slip 45 Elbow | P40S4K | Ferguson |  | 8
PVC Extra fittings |  | 4 PVC Schedule 40 Slip X Slip Coupling | P40SCP | Ferguson |  | 2
PVC Extra fittings |  | 4 PVC Schedule 40 Slip X Slip 90 Elbow | P40S9P | Ferguson |  | 2
PVC Extra fittings |  | 4 PVC Schedule 40 Slip X Slip 45 Elbow | P40S4P | Ferguson |  | 2
PVC Extra fittings |  | 2 Quick Cap | FQC102 | Ferguson |  | 2
PVC Extra fittings |  | 4 Quick Cap | FQC104 | Ferguson |  | 1
Water Trap for He recovery system |  | Standard Wall Black Welded Steel Pipe, 3 Pipe Size x 72" Length, Threaded Ends | http://www.mcmaster.com/mv1453753815/#4457K57 | mcmaster |  | 1 |  | 145.38 | 145.38
Water Trap for He recovery system |  | Low-Pressure Black Malleable Iron Threaded Fitting, 3 x 1 Pipe Size, Reducing Coupling | http://www.mcmaster.com/mv1453753815/#44605K545 | mcmaster |  | 2 |  | 42.06 | 84.12
Water Trap for He recovery system |  | High-Pressure Nickel-Plated Steel Glass Sight without Reflector, 1 NPT Male, 1-3/8" Hex Size | http://www.mcmaster.com/mv1453753815/#1079K14 | mcmaster |  | 4 |  | 13.38 | 53.52
Water Trap for He recovery system |  | Medium-Pressure Brass Threaded Pipe Fitting, 1/2 Pipe Size, Cross | http://www.mcmaster.com/mv1453753815/#50785K235 | mcmaster |  | 1 |  | 22.2 | 22.2
Water Trap for He recovery system |  | Low-Pressure Brass Threaded Pipe Fitting, 1 Male x 1/2 Female Pipe Size, Hex Reducing Bushing | http://www.mcmaster.com/mv1453753815/#4429K424 | mcmaster |  | 2 |  | 7.97 | 15.94
Water Trap for He recovery system |  | Medium Pressure Brass Hex Nipple, 1/2 Pipe Size | http://www.mcmaster.com/#5485K24 | mcmaster |  | 2 |  | 5.3 | 10.6 | Yes
Water Trap for He recovery system |  | High-Pressure Steel Pipe Outlets, 1 Threaded Outlet, Fits 1 to 36 Pipe Size | http://www.mcmaster.com/#4587K55 | mcmaster |  | 5 |  | 7.84 | 39.2 | Yes
Water Trap for He recovery system |  | Brass Ball Valve, 1/2" NPT Connection, Female x Male | http://www.mcmaster.com/mv1453753815/#47865K43 | mcmaster |  | 3 |  | 10.73 | 32.19 | Yes
Water Trap for He recovery system |  | Brass Compression Tube Fitting with Tube Support, Straight Adapter for 3/8" Tube OD x 1/2 Female Pipe | http://www.mcmaster.com/mv1453753815/#51875K56 | mcmaster |  | 1 |  | 5.92 | 5.92 | Yes | ML4553
Water Trap for He recovery system |  | Low-Pressure Brass Threaded Pipe Fitting, 1/2 Male x 1/8 Female Pipe Size, Hex Reducing Bushing | http://www.mcmaster.com/mv1453753815/#4429K421 | mcmaster |  | 2 |  | 2.68 | 5.36 | Yes | ML4553
Water Trap for He recovery system |  | Brass Compression Tube Fitting, Straight Adapter for 1/8" Tube OD x 1/8 Male Pipe | http://www.mcmaster.com/#50915k311 | mcmaster |  | 2 |  | 1.78 | 3.56 | Yes | ML4553
Water Trap for He recovery system |  | Strut-Mount Clamp, Type 304 Stainless Steel, for 3-1/2" OD, 3" Pipe | http://www.mcmaster.com/#3115T49 | mcmaster |  | 4 |  | 6.27 | 25.08 | Yes | ML4553
Water Trap for He recovery system |  | High Temperature Fiberglass Pipe Insulation, 1" Thick, 3-1/2" Insulation ID, 3' Length | http://www.mcmaster.com/#5556K38 | mcmaster |  | 2 |  | 17.48 | 34.96 | Yes | ML4553
Water Trap for He recovery system |  | Solder-Connection Copper Fitting for Drinking Water, Adapter, Socket-End, for 1/2 Tube Size, 3/4 Female NPT | http://www.mcmaster.com/#5520K405 | mcmaster |  | 1 |  | 3.71 | 3.71 | Yes | ML4553
Water Trap for He recovery system |  | Solder-Connection Copper Fitting for Drinking Water, Adapter, Socket-End, for 1/2 Tube Size, 1/2 Female NPT | http://www.mcmaster.com/#5520K21 | mcmaster |  | 2 |  | 1.61 | 3.22 | Yes | ML4553
Water Trap for He recovery system |  | Bronze Y-Strainer, 1 NPT Female, 150 mesh (100 micron) | http://www.mcmaster.com/mv1453753815/#43935K55 | mcmaster |  | 2 |  | 57.75 | 115.5 | Yes | ML4553
Water Trap for He recovery system |  | High-Pressure Brass Threaded Pipe Fitting, 1/2 Pipe Size, Female x Male 90 Degree Elbow | http://www.mcmaster.com/#4757T34 | mcmaster |  | 1 |  | 15 | 15 | Yes | ML4553
Water Trap for He recovery system |  | Medium Pressure Brass Hex Nipple, 1 Pipe Size | http://www.mcmaster.com/#5485K26 | mcmaster |  | 2 |  | 16.76 | 33.52 | Yes | ML4553
Water Trap for He recovery system |  | 54" long, 1/2 In T321 Stainless Steel Annular Corrugated Configurable Flexible Metal Hose Assembly with Ends, T304 Single Braid, Annuflex AF4750; 1/2" MNPT end, 1/2" MNPT with JIC swivel | http://processhose.com/ | Process Hose |  | 2 |  | 73.79 | 147.58 | Yes | Confirmation #500002199
Water Trap for He recovery system |  | Item # AA31625, 25 Lbs, Activated Alumina F-200 3/16 Options | https://www.deltaadsorbents.com/ | delta adsorbents |  | 1 |  | 53.7 | 53.7 | Yes | ML4550
Water Trap for He recovery system |  | Item # AAF6008, Indicating Activated Alumina, Grade F-6, 3/16 Balls, 1 lb. | http://catalog.adcoa.net/item/activated-alumina/grade-f-6/aaf6008?&bc=0¦3001002 | adcoa |  | 2 |  | 24 | 48 | Yes | ml4549
Water Trap for He recovery system |  | Silicone Heat Tape, 1 x 120 In, by BRISKHEAT, 720 Watts, 120V, Controller included, 425F max | http://www.zoro.com/briskheat-silicone-heat-tape-1-x-120-in-hstat101010/i/G4553342/ | zoro |  | 2 |  | 147.43 | 294.86 | Yes | ML4551
Water Trap for He recovery system |  | Standard-Wall Steel Thread-on-One-End Pipe Nipple, 3 Pipe Size x 6" Length | http://www.mcmaster.com/#7753K172 | mcmaster |  | 1 |  | 20.31 | 20.31 | Yes | ML4553
Water Trap for He recovery system |  | Low-Pressure Black Malleable Iron Threaded Fitting, 3 Pipe Size, Round Head Cap | http://www.mcmaster.com/mv1453753815/#44605K391 | mcmaster |  | 1 |  | 25.55 | 25.55 | Yes | ML4553
Water Trap for He recovery system |  | Black-Finish Steel Internal Retaining Ring for 3-1/4" Bore Diameter | http://www.mcmaster.com/mv1453753815/#99142A665 | mcmaster |  | 1 |  | 2.55 | 2.55 | Yes | ML4553
Water Trap for He recovery system |  | Black-Finish Steel Internal Retaining Ring for 3-1/2" Bore Diameter | http://www.mcmaster.com/mv1453753815/#99142A670 | mcmaster |  | 1 |  | 2.9 | 2.9 | Yes | ML4553
Water Trap for He recovery system |  | Stainless Steel Internal Retaining Ring for 1" Bore Diameter | http://www.mcmaster.com/mv1453753815/#91580A211 | mcmaster |  | 1 |  | 9.16 | 9.16 | Yes | ML4553
Water Trap for He recovery system |  | Stainless Steel Internal Retaining Ring for .901" Bore Diameter | http://www.mcmaster.com/#91580A193 | mcmaster |  | 1 |  | 9.26 | 9.26 | Yes | ML4553
LN Dewar Gas outlet connector |  | Eaton Aeroquip 2242-6-8S Female 37 Degree JIC Swivel to Female Pipe, JIC 37 Degree & NPT End Types, Carbon Steel, 1/2 JIC(f) x 3/8 NPT(f) End Size, 1/2" Tube OD, 3/8" Female Pipe Size | http://www.amazon.com/Aeroquip-2242-6-8S-Female-Degree-Swivel/dp/B008I5BB02/ref=pd_sim_sbs_328_2?ie=UTF8&dpID=41UKwNBUe0L&dpSrc=sims&preST=_AC_UL160_SR160%2C160_&refRID=1PQ20G07ZKY72SA21MS2 | amazon |  | 1 |  | 4.25 | 4.25 | Yes | ML4554
LN Dewar Gas outlet connector |  | Brass Barbed Hose Fitting, Adapter for 1/4" Hose ID x 3/8" NPTF Male Pipe | http://www.mcmaster.com/mv1453753815/#5346K24 | mcmaster |  | 1 |  | 10.07 | 10.07 | Yes | ML4553
LN Dewar Gas outlet connector |  | Brass 37°Flared Tube Fitting, Straight Adapter for 1/2" Tube OD x 3/8 NPT Female | http://www.mcmaster.com/#50675K175 | mcmaster |  | 1 |  | 7.66 | 7.66 | Yes | ML4553
Mech Room manifold modification |  | Solder-Connection Copper Fitting for Drinking Water, Reducing Inline Tee, for 3/4 x 1/2 Tube Size | http://www.mcmaster.com/#5520K81 | mcmaster |  | 1 |  | 1.98 | 1.98 | Yes | ML4553
Mech Room manifold modification |  | Solder-Connection Copper Fitting for Drinking Water, Tee, Socket to Socket, for 1/2 Tube Size | http://www.mcmaster.com/#5520K71 | mcmaster |  | 3 |  | 0.86 | 2.58 | Yes | ML4553
He Purity meter automation |  | 120V electrical box I have box
He Purity meter automation |  | 2x120V 15A plugs, I have two pairs of these
He Purity meter automation |  | face plate for plugs, I have face plate
He Purity meter automation |  | ASCO, RedHat, U8256B045V, Solenoid Valve, 2/2, 1/8 In, NC, 120/110VAC | http://www.asco.com/en-us/product/solenoid-valve/256/20744 | ASCO.com |  | 2 |  | 40 | 80 | Yes | ML4552
He Purity meter automation |  | ASCO, RedhHat, 8320G003, 120/60. 110/50. 30 PSI, 3/2 Universal valve | http://www.asco.com/en-us/product/solenoid-valve/320-s/29940 | ASCO.com |  | 1 |  | 103 | 103 | Yes | ML4552
He Purity meter automation |  | Brass Compression Tube Fitting, Straight Adapter for 1/8" Tube OD x 1/8 Male Pipe | http://www.mcmaster.com/#50915k311 | mcmaster |  | 8 |  | 1.78 | 14.24 | Yes | ML4553
He Purity meter automation |  | Front and Back Sleeve for 1/8" Tube OD Brass Yor-Lok Tube Fitting | http://www.mcmaster.com/#5272K602 | mcmaster |  | 10 |  | 2.55 | 25.5 | Yes | ML4553
He Purity meter automation |  | Nut for 1/8" Tube OD Brass Yor-Lok Tube Fitting | http://www.mcmaster.com/#5272K124 | mcmaster |  | 3 |  | 0.92 | 2.76 | Yes | ML4553
He Purity meter automation |  | Zoro #: G1602115 Brass BV, 3-Way, Comp.xComp.xComp., 1/8 In , Parker 2A-MB2XPFA-BP | http://www.zoro.com/parker-brass-bv-3-way-compxcompxcomp-18-in-2a-mb2xpfa-bp/i/G1602115/ | Zoro |  | 1 |  | 59.9 | 59.9 | Yes | ML4551
Dewars |  | 0.5 PSI inline releif valves, NPT size?, 3 dewars
Magnet |  | Use at least qty:1 of the 2 PSI releif valves on dewars for manifold. (are they 2 or 3 PSI?); they are vrvi-250-b-fs-2.0, in line releif valve, 1/4" M-1/4" F
Apropriate KF flanges for lab manifold
Bag Underpressure releif valves |  | 0.5 PSI InLine relief valve, large
0.4 PSI inline releif valve, small
Dewar heater | [8 empty] | 1253.59
Misc |  | Eyeglass Frame Magnifier, 3.5x Magnification, 4" Working Distance | http://www.mcmaster.com/#1344T24 | mcmaster |  | 1 |  | 30.7 | 30.7 |  | ML4553
Lab Pump Interlock circuit for He Bag |  | Arduino Uno board | http://store-usa.arduino.cc/products/a000066 | Arduino.cc |  | 1 |  | 24.95 | 24.95 |  | Yes
Lab Pump Interlock circuit for He Bag |  | Power Supply; AC-DC; 7.5V@3.2A; 100-240V In; Wall Plug; Pos Center Plug; WSU Series, Mfr. Part#: WSU075-3200, Allied Stock#: 70231050 | http://www.alliedelec.com/triad-magnetics-wsu075-3200/70231050/ | Allied Elec |  | 1 |  | 14 | 14 |  | Yes
Lab Pump Interlock circuit for He Bag |  | 2, 3, and 4 pin F-F 0.1" jumper cables 70cm long | http://www.ebay.com/itm/15pcs-70cm-2pin-3pin-4pin-female-to-female-Dupont-cable-jumper-wire-for-Arduino-/111584036089?hash=item19faed44f9:g:5uUAAOSwm8VUxu7X | ebay |  | 2 |  | 6.4 | 12.8
Lab Pump Interlock circuit for He Bag |  | Veroboard Prototype Universal Stripboard 8"x16" (205x410mm) 13000hole Epoxy Fiber | http://www.amazon.com/Prototype-Universal-Stripboard-205x410mm-13000hole/dp/B0064QJQRC/ref=sr_1_12?ie=UTF8&qid=1454023149&sr=8-12&keywords=veroboard+stripboard | amazon |  | 1 |  | 25 | 25
Lab Pump Interlock circuit for He Bag |  | 7404 HEX Inverter Buffer/Driver DIP-14 | http://www.jameco.com/webapp/wcs/stores/servlet/Product_10001_10001_49040_-1 | Jameco.com |  | 15 |  | 1.35 | 20.25
Lab Pump Interlock circuit for He Bag |  | 7407 HEX BUFFER/DRIVER DIP-14, Open collector | http://www.jameco.com/webapp/wcs/stores/servlet/Product_10001_10001_49120_-1 | Jameco.com |  | 10 |  | 0.75 | 7.5
Lab Pump Interlock circuit for He Bag |  | 7406 HEX INVERTER BUFFER/DRIVER DIP-14, Open Collector | http://www.jameco.com/webapp/wcs/stores/servlet/Product_10001_10001_49091_-1 | Jameco.com |  | 10 |  | 0.79 | 7.9
Lab Pump Interlock circuit for He Bag |  | Neodymium magnets, Part # B222, 1/8" x 1/8" x 1/8" thick, Nickel Plated, Magnetized thru Thickness | https://www.kjmagnetics.com/proddetail.asp?prod=B222 | kjmagnetics |  | 20 |  | 0.18 | 3.6
Lab Pump Interlock circuit for He Bag |  | Neodymium mangets, Part # B444, 1/4" x 1/4" x 1/4" thick, Nickel Plated | https://www.kjmagnetics.com/proddetail.asp?prod=B444 | kjmagnetics |  | 20 |  | 0.68 | 13.6
Lab Pump Interlock circuit for He Bag |  | SainSmart 4 Channel 5V Solid State Relay Module Board.OMRON SSR AVR DSP Arduino; OMRON 5V solid state relays every road 240V 2A, output with resistive fuse 240V 2A. Size:71*62mm*24mm Power supply: 5V DC(160mA); SSR Output (each channel): Load voltage range: 75 to 264VAC (50/60Hz). Load current: 0.1 to 2 AMP. | http://www.sainsmart.com/sainsmart-4-channel-5v-solid-state-relay-module-board-omron-ssr-avr-dsp-arduino.html | Sain smart |  | 1 |  | 16.3 | 16.3 | Express shipping = $12.50
Lab Pump Interlock circuit for He Bag |  | PowerSwitch Tail II, PN 80136: $25.99 each, Normally Open (NO), Switches up to 15 amps with a control signal as low as 3vdc @ 3ma. | http://www.powerswitchtail.com/Pages/default.aspx | Power Switch |  | 1 |  | 25.99 | 25.99 | Shipping = $6.30
Lab Pump Interlock circuit for He Bag |  | magnet reed switches; Sensor; 175 VDC (Max.); 0.5 A (Max.) (Switching); Plastic; MP2017 Series Mfr. Part#: Cherry MP201701, Allied Stock#: 70207644 | http://www.alliedelec.com/cherry-mp201701/70207644/#tab=specs | Allied Elec |  | 10 |  | 2.26 | 22.6
Lab Pump Interlock circuit for He Bag |  | Kingbright WP59EGW LED; 70062954, WP59EGW, HE Red/Green, 60/50 mcd, 30/25 max mA | http://www.alliedelec.com/kingbright-wp59egw/70062954/ | Allied Elec |  | 20 |  | 0.218 | 4.36
Lab Pump Interlock circuit for He Bag |  | Socket, DIP; 14Pins; Low Profile; Open; Solder Tail; 0.3In.; Beryllium Copper; Tin/Lead | http://www.alliedelec.com/mill-max-110-99-314-41-001000/70206321/#tab=specs | Allied Elec |  | 15 |  | 0.48 | 7.2
Lab Pump Interlock circuit for He Bag |  | 7805 Voltage Regulator, 1 Amp, 7.5-18V input, 5V +/- 5% output | http://www.alliedelec.com/exar-sp7805v-l/70400773/ | Allied Elec |  | 20 |  | 0.167 | 3.34
Lab Pump Interlock circuit for He Bag |  | Enclosure; Box-Lid; Aluminum, Diecast; Natural; 10.83x6.89x2.46 In; IP54; 1550 Series, Hammond Manufacturing 1550J | http://www.alliedelec.com/hammond-manufacturing-1550j/70165864/ | Allied Elec |  | 1 |  | 35.4 | 35.4
|  | The ScrewShield extends all pins of the Arduino out to 3.5mm pitch screw terminals. | https://www.sparkfun.com/products/9729?_ga=1.91132882.93786849.1451246631 | Sparkfun.com |  | 1 |  | 14.95 | 14.95

## Chiller expenses
Chiller Expenses
55 Gallon water barrel | amazon | 122.81
BioFrost coolant, Concentrate - 30 gallons | amazon | 720
Chiller water pump | Locke Well and Pump Company | 315.43
Rheem ac, 6' whip | acwholesalers | 1677.26
Chiller -Parker PA5083-11-7C Refrigerant Suction Line Accumulator | ebay | 42.2
Chiller Charging-Mastercool 98210-A Electronic Refrigerant Scale | amazon | 145.42
Chiller Charging - Yellow Jacket 42044 Heat Pump Manifold with 60" PLUS II Black Hoses (R-22, R-410A, R-407C) | amazon | 96.79
Chiller Charging - R410a Refrigerant - 25 lb cylinder - New factory sealed tank | amazon | 118
Chiller Charging - Charging Hoses Set AC R410A 1/4" with Ball Valves Fittings | amazon | 36.09
Chiller - copper tubes, fittings, txv valve, brazing raod, flux, etc. | URI.com | 920.37
Chiller - copper tubes, fittings, txv valve, brazing raod, flux, etc. | URI.com | 449.95
Chiller - High and Low Pressure gauges, Fluke shielded Thermocouple converter | amazon | 62.08
Chiller - coolant pipe and connectors | zorotools.com | 671.53
Chiller - Scrhader valve core removal tool | amazon | 5.68
Chiller air duct | pheonix metals | 290
Chiller - 3/4" coolant tubing mounting hardware | mcmaster | 30